Deployment sensor and positions

CTD S12073 - surface

CTD S12971 - deep

O2 sensor 364333 - surface - data looks reasonable for the whole time-series

-time error at connection 7 seconds

O2 sensor 383325 - deep - data dropped to 0 O2 concentration around Oct 25

-time error at connection -7 seconds

Wiper 175373 - shallow - this one was wiping when cleaning at end of deployment

Wiper 794086 - deep

The shallow O2 sensor was approximately 0.8 m below the surface based on the water line measured on the floats. The shallow CTD was approximately 0.93 m below the surface (13 cm below the O2 sensor)