O2 sensor calibration

Put sensors in water, left at least 40 mins

Sampled into 6 flasks 15:13 to 15:17 local time

Flasks 3, 4, 10, 14, 20 in order

Flask 10 accidentally used the wrong cap initially, so there was a bubble in the flask. Running titration anyway.

16:50 to 1651: started logging with DST Loogers

16:56 placed into 09/12 sal surf

17:05 removed from 09/12 sal surf

17:07 inserted into 09/12 sal deep

17:17 removed from 09/12 sal deep

17:22 inserted into 11/22 sal shall

18:27 removed from 11/22 sal shall

18:28 inserted into 11/22 sal deep

18:37 removed from sal deep